## Wells
TID WELLS 2013 (September 12 - September 19)
TOTAL
| DATE | TIME | DATE | TIME |  |  | METER | METER | AF | STATIC | PUMPING |  | FIRST | TOTAL
SITE | STARTED | STARTED | CHECKED | CHECKED | GPM | CFS | START | PRESENT | PUMPED | HEAD | HEAD |  | READING | PUMPED
1 | 2013-09-12 | 8:25 | 2013-09-19 |  | 0 | 0 | 8195.12 | 8258.15 | 63.03 | 46.2 | 51.5 | Off | 6091.92 | 2166.23
2 | 2013-09-12 |  | 2013-09-19 |  | 0 | 0 | 12203.79 | 12203.79 | 0 | 57.2 | 132.4 | Off | 9446.45 | 2757.34
3 | 2013-09-12 | 8:45 | 2013-09-19 | 9:20 | 8600 | 19.1609 | 7751.9 | 7994.25 | 242.35 | 55.6 | 177.5 | On | 5247.35 | 2746.9
4 | 2013-09-12 |  | 2013-09-19 |  | 0 | 0 | 8857.74 | 8857.74 | 0 | 52.5 | 138.8 | Off | 8857.74 | 0
5 | 2013-09-12 |  | 2013-09-19 |  | 0 | 0 | 13050.1 | 13050.1 | 0 | 51.8 | 137.9 | Off | 13028.65 | 21.45
6 | 2013-09-12 |  | 2013-09-19 |  | 0 | 0 | 7508.34 | 7508.34 | 0 | 46.3 | 204.3 | Off | 7508.34 | 0
7 | 2013-09-12 |  | 2013-09-19 |  | 0 | 0 | 3502.01 | 3502.01 | 0 | 67.3 | 251.4 | Off | 3112.44 | 389.57
8 | 2013-09-12 | 9:55 | 2013-09-19 |  | 0 | 0 | 7736.9 | 7831.12 | 94.22 | 47.1 | 244.9 | Off | 6684.68 | 1146.44
9 | 2013-09-12 | 9:40 | 2013-09-19 |  | 0 | 0 | 9173.66 | 9295.9 | 122.24 | 45.9 | 249.8 | Off | 7720.3 | 1575.6
14 | 2013-09-12 |  | 2013-09-19 |  | 0 | 0 | 11452.43 | 11452.43 | 0 | 38.4 | 84.5 | Off | 10326.37 | 1126.06
|  |  |  | TOTAL CFS |  | 19.1609
|  |  |  | GROUND WATER PUMPED (Sep 12 - Sep 19) |  |  |  |  | 521.84 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Sep 5 - Sep 12) |  |  |  |  | 751.92 | Acre Feet
|  |  |  | GROUND WATER PUMPED (August 29 - September 5) |  |  |  |  | 665.45 | Acre Feet
|  |  |  | TOTAL PUMPED SEPTEMBER |  |  |  |  | 1939.21 | Acre Feet
|  |  |  | TOTAL PUMPED AUGUST |  |  |  |  | 2466.12 | Acre Feet
|  |  |  | TOTAL PUMPED JULY |  |  |  |  | 4296.75 | Acre Feet
|  |  |  | TOTAL PUMPED JUNE |  |  |  |  | 2521.75 | Acre Feet
|  |  |  | TOTAL PUMPED MAY |  |  |  |  | 705.76 | Acre Feet
|  |  |  | TOTAL PUMPED 2013 |  |  |  |  | 11929.59 | Acre Feet
11929.59